

**DOP (dioctyl phthalate) AEROSOL TEST**

(Aerosolized particles with a mass median diameter of approximately 0.33µm)

|  |  |
| --- | --- |
| SPONSOR: |       |
| CONTACT: |       |
| SAMPLE ID: |       |

TEST FLOW RATE: (available 0 to 100 L/min)

[ ]  85 L/min (NIOSH Parameters) [ ]  30 L/min [ ]  15 L/min

[ ]  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

CONDITIONING: (**NIOSH = temp**: 38 ± 2.5º C, **relative humidity**: 85 ± 5%, **duration**: 25 ± 1 hour)

[ ]  YES (NIOSH Parameters) [ ]  NO

TEST TYPE: (Please choose only one per Sample type)

[ ]  Instantaneous (~10 sec. FILTER Test) [ ]  Initial Penetration (~1 min load)

[ ]  Max Penetration [ ]  Load Testing (\_\_\_\_\_\_\_\_mg)

SAMPLE TEST SIDE: (Side that will be contacted by DOP first):

[ ]  Outside (NIOSH Parameters) [ ]  Inside [ ]  \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

COMMENTS:

|  |  |  |  |
| --- | --- | --- | --- |
| SIGNATURE: |  | DATE: |  |

Confidential and Proprietary Information. Do not duplicate or copy.